# High Level Protocol Phases

## Baseline Time Course

Measure electrical properties from all loaded plates a set number of times specified at runtime. No dispense needed. 5 minute interval for measurements.

Amiloride Application

Dispense amiloride to each cell plate and measure electrical properties right after the delivery.  Compound is from reagent plate #1 which should already be on the deck. 25 uL should be dispensed in apical (top) compartment and mixed 3X with max pipette volume. Tips do not need to be changed between plates.

## Amiloride Time Course

Measure electrical properties from all plates a set number of times specified at runtime. No dispense needed.  5 minute interval.  Reagent plates for next step need to be shuttled onto the deck.

## Forskolin Application

Dispense forskolin (or forskolin + potentiator) to each cell plate and measure electrical properties right after the delivery.  There can be 1 reagent plate for all cell plates or 1 reagent plate per cell plate depending on whether it is a corrector or potentiator assay.  25 uL of forskolin is added to the apical compartment and 80 uL to the basolateral.  Mixing volume should be 3X max pipette volume.  Tip change needed for potentiator protocol but not corrector protocol.

## Forskolin Time Course

Measure electrical properties from all plates a set number of times specified at runtime. No dispense needed.  5 minute interval.  Reagent plate for next step need to be shuttled onto the deck.

## Bumetanide Application

Dispense bumetanide to each cell plate and measure electrical properties right after the delivery.  Compound is from reagent plate #8 if corrector assay or #3 if potentiator.  80 uL should be dispensed in basolateral compartment and mixed 3X with max pipette volume. Tips do not need to be changed between plates.

## Bumetanide Time Course

Measure electrical properties from all plates a set number of times specified at runtime. No dispense needed. 5 minute interval for measurements.